###### EA Sensory Service

# Roger Pen Microphone

| Roger Pen 1. Indicator light LED 2. Decline call 3. Accept call 4. Charging and audio input 5. Microphone mode change 6. Connect 7. On/off/mute 8. Microphones | How to Connect a Roger Receiver - Make sure Roger Pen and the Roger receiver are both powered on. - Hold Roger Pen within 10 cm / 4 inches of the Roger receiver. - Press the Connect button on your Roger Pen. - The indicator light will turn green for two seconds to confirm a successful connection. - Repeat steps 2 & 3 to connect a second receiver. | Understanding the Status Indicator Light Indicator light Meaning Switched on Switching off, Bluetooth in standby mode Switching off Audio input detected Microphone / audio input muted Charging Fully charged Low battery – charge your Roger Pen Active phone call |
| --- | --- | --- |

For further advice please contact the Sensory Service via phone:  028 25 661 258 or email:  sensoryservice@eani.org.uk